## Pan Conditions
Architectural Pan Conditions
Panel Profile | Requires Oil Canning Acknowledgement | Flat | Striated | Pencil Rib | Minor Rib | Plank & Pencil | Plank Only | Inverted Plank | Double Vee Grooves
Maxima 1.5 12" | Yes | X | X | X (Single Only)
Maxima 1.5 16" | Yes | X | X | X
Maxima 1.5 18" | Yes | X | X | X
Maxima 212 & ADV (with or without shoulders) | Yes | X | X | X (Single Only)
Maxima 216 & ADV (with or without shoulders) | Yes | X | X | X
Maxima 218 & ADV (with or without shoulders) | Yes | X | X | X
Maxima 318 | Yes |  | X |  | X (1 Rib)
Maxima 324 | Yes |  | X |  | X (2 Ribs)
138T 12" | Yes | X | X |  | X |  | X
138T 16" | Yes | X | X |  | X | X | X
138T 18" | Yes | X | X |  | X | X | X
238T 16" | Yes | X | X |  | X | X | X
238T 18" | Yes | X | X |  | X | X | X
238T 24" | Yes |  | X |  | X | X | X
JSM 200 (Match back Only) | Yes | X | X |  | X | X
Medallion Pan & Medallion-Lok 12" | Yes | X | X | X (Single Only)
Medallion Pan & Medallion-Lok 16" | Yes | X | X | X
Medallion Pan & Medallion-Lok 18" | Yes | X | X | X
Meridian 12" | Yes |  | X |  | X
Meridian 16" | Yes |  | X |  | X
Marquee-Lok (Non-Vented) | Yes | X |  | X (Double)
Marquee-Lok (Vented) | Yes | X |  | X (Single Only)
Matrix (Non-Vented & Vented) | No | X
FW Panel (Non-Vented) | Yes | X | [5 empty] | X | X
FW Panel (Vented) | Yes | X
Flush Panel (Non-Vented) | Yes | X | [5 empty] | X | X
Flush Panel (Vented) | Yes | X | [6 empty] | X
Trap-Tee | Yes |  |  |  | X
Instaloc 13" | Yes | X | X |  | X |  | X

## Notching,Swaging & Punching
PROFILE | SWAGING | NOTCHING | PUNCHING
324 MAXIMA - 103 | LAP END | # LAP/EAVE/NONE
318 MAXIMA - 103 | LAP END | # LAP/EAVE/NONE
218 MAXIMA & ADV - 102, 103 & 111 | LAP END | # LAP/EAVE/NONE
216 MAXIMA & ADV - 102 & 103 | LAP END | # LAP/EAVE/NONE
218 MAXIMA & ADV - 106 | NOT AN OPTION | # LAP/EAVE/NONE
216 MAXIMA & ADV -106 | NOT AN OPTION | #LAP/EAVE/NONE
216 MAXIMA & ADV - 102 & 111 | See Job Aid - Maxima 216-ADV Conditions Plants 102 & 111 Only
216 MAXIMA - 114 | NOT AN OPTION | NOT AN OPTION
218 MAXIMA - 114 | NOT AN OPTION | NOT AN OPTION
218 MAXIMA ADV w/out Shoulders - 114 | NOT AN OPTION | NOT AN OPTION
216 MAXIMA ADV w/out Shoulders - 114 | NOT AN OPTION | NOT AN OPTION
1.5 MAXIMA 16" & 18" - Portable | NOT AN OPTION | NOT AN OPTION
1.5 MAXIMA 12" - Portable | NOT AN OPTION | NOT AN OPTION
138T PANEL 12", 16", 18"
238T PANEL 16" & 18"
238T PANEL 24" (Onsite Only)
JSM200 - Matchback only
MasterLok-90
MasterLok-FS - 101 |  | ^ YES/NO | ^ YES/NO
MasterLok-FS 105 |  | YES/NO
12", 16", 18" MEDALLION-LOK - 102, 103 & 111 |  | EAVE/NONE
12", 16", 18" MEDALLION-LOK - 102, 103, 111 6' min panel length |  | BOTH ENDS
12", 16", 18" MEDALLION-LOK - 106 |  | # EAVE/NONE
PERMASEAM 16" & 18"
12", 16", 18" MEDALLION PAN
SNAPLOCK LO
12" MARQUEE LOK & NO LOK
FLUSH PANEL 12"
FW SERIES
12",16" MATRIX
12", 16" MERIDIAN - 102, 103, 111 |  | EAVE/NONE
12", 16" MERIDIAN - 102, 103, 111 6' min panel length |  | BOTH ENDS
12", 16" MERIDIAN - 106 |  | # EAVE/NONE
INSTALOC 13"
# Note: Notching can only occur at either the lap end or the eave end of the panel, but not both ends of the same panel
^Note: If punched, panels will also be notched